E.O. G-70-193

Hill-Vac Vapor Recovery System Test Report Form

| Permit or Registration #: | Vehicle #: | Test Company: |
| --- | --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | Healy: |  |

| TEST INFORMATION |
| --- |
| Number of nozzles: | Number of Healy Model 100 Jet Pumps (2 per nozzle): | Totalizer reading: |
| Vacuum measuring device | digital manometer | mechanical gauge |
| Calibration date for vacuum measuring device (must be within 180 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
| Pressure measuring device (for fill pipe test) calibration date (must be within 180 days of the test) |  |

| VAPOR RETURN LINE VACUUM INTEGRITY TEST |
| --- |
| Test No. | 1 | 2 | 3 | 4 |
| Start time |  |  |  |  |
| Initial Pressure, inches of water column (in. w.c.) Min 65” |  |  |  |  |
| Vacuum at 1 minutes, in. w.c. |  |  |  |  |
| Vacuum at 2 minutes, in. w.c. |  |  |  |  |
| Vacuum at 3 minutes, in. w.c. |  |  |  |  |
| Vacuum at 4 minutes, in. w.c. |  |  |  |  |
| Vacuum at 5 minutes, in. w.c. |  |  |  |  |
| Allowable final vacuum (subtract 28” from initial) |  |  |  |  |
| Pass / Fail |  |  |  |  |

| FILL PIPE PRESSURE REGULATION FUELING TEST |
| --- |
| Nozzle # (3 tests per) | Fuel Grade | Vapor return line vac reading (35-65” w.c.) | Gallons dispensed | Time to dispense (sec.) | Dispensing rate (5-10 gpm) G x 60 T | Min pressure (≥ -1.0” w.c.) | Max pressure (≤ +2” w.c.) | Pass / Fail (-1.0”-2.0”) |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________