TP-201.1C/D

Leak Rate of Drop Tube/Drain Valve Assembly and Leak Rate of Drop Tube Overfill Protection Devices and Spill Container Drain Valves Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: |  |

| DROP TUBE DRAIN VALVE AND OVERFILL PROTECTION DEVICE PRESSURE INTERGITY TEST Straight Drop Tube1 Drop Tube with an Overfill Protection Device2 |
| --- |
| Pressure measuring device | digital manometer | mechanical gauge |
| Calibration date for pressure measuring device (must be within 180 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
| Drop Tube Drain Valve Pressure Test: Flow rate 80 ml/min | Drop Tube Overfill Device Pressure Test: Flow rate 200 ml/min | “Corrected” Overfill Device Leak Rate |
|  | Time to reach 2 in. w.c. at 80 ml/min | Drain valve leak rate3 | Final pressure | Time to reach 2 in. w.c. at 200 ml/min | Overfill leak rate3 | Final pressure | Overfill Device Leak Rate | Minus | Equals |
|  |  |  |  |  |  |  |  | Drain Valve Leak Rate | Corrected Leak Rate |
| Tank | Grade | mins. | ml/min | in. w.c. | mins. | ml/min | in. w.c. | ml/min | ml/min | ml/min |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |

NOTES:	1A straight drop tube must be tested with a bladder in place and using a flow rate of 80 ml/min.

2The bladder section of TP-201.1D may be skipped if the entire drop tube passes with a leak rate below 80 ml/min.

3Leak rate = nitrogen flow rate needed to maintain a constant pressure (at least 2 in. w.c.) for 30 seconds.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ___________________________		Date:  ____________________