VR – 401/402/501 EVR Phase I / II

AST Static Pressure Performance Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | ICC: |  |

| TEST INFORMATION |
| --- |
| Total number of nozzles: | Are the tanks manifolded? Yes No |
| Phase I vapor recovery system executive order |  |
| Phase I vapor recovery system configuration | Direct-fill Remote-fill |  |
| Phase II vapor recovery system executive order |  |
| Nitrogen introduction point | Phase I vapor coupler | Phase I vent line | Phase II vapor riser |
| Pressure measuring device | incline manometer | digital manometer | mechanical gauge |
| Calibration date for pressure measuring device (must be within 90 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
| Nitrogen introduction flow rate, F (must be between 1 and 5 CFM) |  |
| Number of hoses with over 100 ml (balance hoses must be drained prior to testing) |  |

| TANK INFORMATION |
| --- |
| Tank No. | 1 | 2 | 3 | 4 | ALL |
| Product grade |  |  |  |  |  |
| Actual tank capacity (gallons) |  |  |  |  |  |
| Gasoline volume (gallons) |  |  |  |  |  |
| Ullage (gallons)1 |  |  |  |  |  |
| If tanks are not manifolded, number of nozzles |  |  |  |  |  |

| 2 IN. W.C. STATIC PRESSURE TEST |
| --- |
| Test No. | 1 | 2 | 3 | 4 | 5 |
| Start time |  |  |  |  |  |
| Initial Pressure, inches of water column (in. w.c.) |  |  |  |  |  |
| Pressure at one minute, in. w.c. |  |  |  |  |  |
| Pressure at two minutes, in. w.c. |  |  |  |  |  |
| Pressure at three minutes, in. w.c. |  |  |  |  |  |
| Pressure at four minutes, in. w.c. |  |  |  |  |  |
| Pressure at five minutes, in. w.c. |  |  |  |  |  |
| Allowable minimum pressure, in. w.c. |  |  |  |  |  |
| Pass / Fail |  |  |  |  |  |

NOTE:  1The minimum ullage shall be 25 percent and the maximum shall be 75% of the tank capacity.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________